## Slide 1: Pre-Operational Process Review
Bureau of Workers’ Compensation
PA Training for Health & Safety (PATHS)
Engineering safety into facilities, processes, procedures, or pieces of machinery prior to set up and use.
Operational Readiness Review
Notes: The pre-operational process review is an operational readiness review.
It engineers safety into facilities, processes or pieces of machinery prior to set up and use.
This reduces back-fitting of safety measures which often need to be found as the result of an incident or accident.

## Slide 2: Definition
• A procedure providing for the review of:
- plans
- drawings
- diagrams
- specifications
For:
▫ processes ▫ equipment
▫ machinery ▫ facilities
Prior to use and introduction into the workplace.
Purpose: identifying-correcting hazardous conditions.
Notes: Pre-Operational Process Review is defined as:
A procedure providing for the review of:
plans
drawings
diagrams
specifications
For:
processes
equipment
machinery
facilities
Prior to use and introduction into the workplace.
Purpose: identifying-correcting hazardous conditions.

## Slide 3: Purpose
Verify process/equipment/machinery/facility:
Can be safely and efficiently installed/operated.
Will be operated, maintained, supplied by trained and competent personnel
Is designed and will be operated in compliance with applicable standards and regulatory requirements
Will be operated so no undue risks to employees, public, environment, stockholders or company
Has appropriate documentation in place
Notes: The purpose of the Review is to:
  Verify process/equipment/machinery/facility:
  Can be safely and efficiently installed/operated.
  Will be operated, maintained, supported by trained and competent personnel.
  Is designed and will be operated in compliance with applicable standards and regulatory requirements.
  Will be operated so no undue risk to employees, public, environment, stockholders, or company.
  Has appropriate documentation in place.

## Slide 4: Review
Should be conducted for:
Unplanned shutdown
Extended shutdown
Facility changes
Substantial process/system change
Addition of new machinery
Major changes to safety basis
Whenever deemed appropriate
Notes: This review should be conducted for various situations in the facility. Among these would be:
Unplanned shutdown
Extended shutdown
Facility changes
Substantial process/system change
Addition of new machinery
Major changes to safety basis
Whenever deemed appropriate

## Slide 5: Review
Should be disciplined, systematic, documented, performance-based.
Should be conducted by a team including safety officer/coordinator.
Should concentrate on potential hazards and safety issues.
Should determine what steps can be taken before start-up to correct hazards/issues.
Notes: The method of the Review should:
Be disciplined, systematic, documented, performance-based.
Be conducted by a team including the safety officer/coordinator.
Concentrate on potential hazards and safety issues.
Determine what steps can be taken before start-up to correct hazards/issues.

## Slide 6: Review: Ensure
Adequate and correct procedures and safety limits in place.
Appropriate training and qualifications programs in place for operations and support personnel.
Appropriate emergency procedures in place as necessary.
Safety devices/systems in place and operate correctly.
Documentation in place and shared with personnel concerned.
Notes: During the Review, ensure:
Adequate and correct procedures and safety limits are in place.
Appropriate training and qualifications programs in place for operations and support personnel.
Appropriate emergency procedures are in place as necessary.
Safety devices/systems in place and operate correctly.
Documentation in place and shared with personnel concerned.

## Slide 7: Review
Brainstorm to determine any possible hazards/safety issues that could occur.
Plan for worst case scenario.
Determine all options for hazard correction.
Evaluate all related safety policies/procedures developed: clear, concise, well-written, understandable, uncomplicated?
Leave “no stone unturned.”
Notes: During the Review, allow your Team to:
Brainstorm to determine any possible hazards/safety issues that could occur.
Plan for worst case scenario.
Determine all options for hazard correction.
Evaluate all related safety policies/procedures developed: clear, concise, well-written, understandable, uncomplicated?
Leave “no stone unturned.”

## Slide 8: Suggested Review Team Members
Individuals involved in process/machine operators.
Safety officer/coordinator.
Safety Committee.
Supervisory personnel.
Insurance loss control rep.
Maintenance, housekeeping.
Notes: Suggested Review Team Members could include, for various reasons and talents within their respective job descriptions:
Individuals involved in process/machine operators.
Safety officer/coordinator.
Safety Committee.
Supervisory personnel.
Insurance loss control rep.
Maintenance, housekeeping.

## Slide 9: Bottom Line
Pre-operational process review not only good business practice, also assists with injury and property damage prevention.
Pre-op process review should be part of on-going safety management.
Should be documented and kept on file.
Use pre-op process review regularly.
Notes: The Bottom Line is that
Pre-operational process review is not only a good business practice, it also assists with injury and property damage prevention.
Pre-op process review should be part of your on-going safety management.
Should be documented and kept on file.
Use pre-op process review regularly.

## Slide 10: Contact Information
Health & Safety Training Specialists
1171 South Cameron Street, Room 324
Harrisburg, PA 17104-2501
(717) 772-1635
RA-LI-BWC-PATHS@pa.gov
Like us on Facebook! - https://www.facebook.com/BWCPATHS

## Slide 11: Questions