## IEBC TAC
I-Code | Code Change Number | 2015 Code Section | 2018 Code Section | Pertains to: | Recommend Y or N | Vote |  | Health Safety Welfare | Econ & Financial Impact | Tech Feasibility | Comment |  |  | TAC Recommendation (PROPOSED) | POTENTIAL CONFLICT WITH PA UCC
[6 empty] | For | Against |  |  |  | HSW | Econ | Tech Feasibility
| PA-IEBC1 |  |  |  | Y |  |  | X | X | X |  |  |  | INSUFFICIENT INFORMATION SUBMITTED
| PA-IEBC2 |  | 705.1.1 Entrances | ADA, Fair Housing Act, compliance with federal laws and policy | MODIFY |  |  | X | [5 empty] | INSUFFICIENT INFORMATION SUBMITTED
| PA- IEBC3 |  | 301 Administration | "Add new Section and reference to Chapter 3 as follows and renumber subsequent Sections: 301.1.4 Concrete evaluation and design procedures. Evaluation and design of structural concrete in compliance with ACI 562 and this code shall be permitted. Exception: ACI 562 shall not be used to comply with provisions of this code for seismic evaluation and design procedures. 303.1.45 Seismic evaluation and design procedures. [No change to text, renumber Section and subsections] Add new referenced standard: ACI American Concrete Institute 38800 Country Club Drive Farmington Hills, MI 48331 562-19: Code Requirements for Assessment, Repair, and Rehabilitation of Existing Concrete Structures 301.1.4" | MODIFY |  | X | X | X | X |  |  |  | REJECT PUBLIC COMMENT-3 DUE TO ADDING A NEW REFERENCED STANDARD
IEBC (AND IBC) | ADM 77-16 | NONE | 106.2.5 (ALSO APPLIES TO IBC 107.2.5) COORDINATE | 106.2.5 Exterior balcony and elevated walking surfaces. | MODIFY |  |  |  |  | X |  | EXCESSIVE DOCUMENTATION & LIABILITY OF ARCHITECT | THIS IS DIFFICULT TO ENFORCE. MANY IMPERVIOUS BALCONY INSTALLATIONS, PARTICULARLY IN SE PA, MAY INVOLVE A COMPOSITE DECK WHICH MAY BE FIELD INSTALLED. MANUFACTURER'S INSTALLATION INSTRUCTIONS MAY NOT BE APPLICABLE AND TYPICALLY, ALTHOUGH PERHAPS REFERENCED, WOULD NOT BE INCLUDED IN THE CONSTRUCTION DOCUMENTS UNLESS FULL SPECIFICATIONS ARE PROVIDED. IN ADDITION, THE DESIGN PROFESSIONAL MAY NOT HAVE THIS INFORMATION AT THE TIME OF PERMIT, PARTICULARLY THE FINAL CHOICE IN MANUFACTURER AND IT IS A POTENTIAL LIABILITY TO HAVE TO PROVIDE DETAILS FOR "ALL" ELEMENTS, PARTICULARLY SINCE IN EXISTING BUILDINGS ELEMENTS ARE TYPICALLY NOT EXPOSED UNTIL THE ACTUAL CONSTRUCTION. MODIFY LANGUAGE AND LAST SENTENCE. (DELETE ...all in first sentence & MODIFY the last sentence.) | MODIFY 2018 AS FOLLOWS: 106.2.5 Exterior balcony and elevated walking surfaces. Where the scope of work involves a balcony or other elevated walking surfaces exposed to water from direct or blowing rain, snow, or irrigation, and the structural framing is protected by an impervious moisture barrier, the construction documents shall include details for elements of the impervious moisture barrier system. The manufacturer’s installation instructions shall be available to the code official during inspection as a differed submittal.
IEBC | EB-10 | REPAIRS: CHAPTER 3 PROVISION FOR ALL COMPLIANCE METHODS, 404 REPAIRS (PRESCRIPTIVE COMPLIANCE METHOD), & CHAPTER 6 REPAIRS | REPAIRS: CHAPTER 3 PROVISIONS FOR ALL COMPLIANCE METHODS SECTIONS 301.1, 301.2 AND SECTION 302 GENERAL PROVISIONS & CHAPTER 4: REPAIRS | REPAIRS: COMPLETE REORGANIZATION AND CONSOLIDATED IN ONE 2018 NEW CHAPTER 4. STILL REFERENCED IN 2018 CHAPTER 3 PROVISIONS FOR ALL COMPLIANCE METHODS SECTIONS 301.1, 301.2 AND SECTION 302 GENERAL PROVISIONS- NUMBERING FROM 2015 HAS CHANGED DRAMATICALLY | ACCEPT MAJORITY EXCEPT AS FOLLOWS | [7 empty] | THE INTENT AND IMPLICATIONS OF THE MAJOR REORGANIZATION WERE REVIEWED. A FEW UNINTENDED CONSEQUENCES HAVE OCCURRED. NEW NUMBERING FROM 2018 SHOULD BE MAINTAINED TO MINIMIZE OTHER SECTIONS AND REFERENCING CHANGING IN THE FUTURE. SEE ADDITIONAL MORE SPECIFIC COMPARISON IN SEPARATE DOCUMENT SPECIFICALLY ADDRESSING EB-10 | ACCEPT MAJORITY EXCEPT AS FOLLOWS
|  | 301.1.4 Seismic evaluation and design procedures | NONE REGARDING REPAIRS | [9 empty] | Review and compare the structural technical combining of 2015 sections with new 2018 Chapter 4. | RECOMMEND RAC STRUCTURAL REVIEW COMPARING 2015 SECTIONS 301.1.4 , 401.2.3, 404.2, 404.3, 606.6.1, 606.2.2, 606.2.3 AND CONDENSED CONTENT FOR REPAIRS IN 2018 SECTIONS 405.2.2, 405.2.3 AND 405.2.4
|  | 404.1 General (PRESCRIPTIVE COMPLIANCE METHOD ) | 401.1 Scope (CHAPTER 4 REPAIRS) | Clarification that Section 302 GENERAL PROVISIONS applies to repairs should be added in 2018. Clarifications in 2015 Section 401.1 General is omitted in 2018 and should be retained. "Buildings and structures, and parts thereof, shall be repaired in compliance...Work on nondamaged components... ) See TAC recommendation for full text. | RETAIN FROM 2015 -MODIFY | [8 empty] | (RETAIN from 2015- ADD TO 2018- SECTION # & CLARIFICATION UPDATED) 401.1 Scope. Repairs shall comply with the requirements of this chapter and Section 302 GENERAL PROVISIONS.Repairs to historic buildings need only comply with Chapter 12. Buildings and structures, and parts thereof, shall be repaired in compliance with this chapter. Work on nondamaged components that is necessary for the required repair of damaged components shall be considered part of the repair and shall not be subject to the requirements for alterations. Routine maintenance complying with Section 302.1, ordinary repairs exempt from permit in accordance with Section 105.2 or by regulations, and abatement of wear due to normal service conditions shall not be subject to the requirements for repairs in this section.
|  | [BS] 404.2 Substantial structural damage to vertical elements of the lateral force-resisting system. (PRESCRIPTIVE COMPLIANCE METHOD ) | [BS] 405.2.3 Substantial structural damage to vertical elements of the lateral force-resisting system. (CHAPTER 4 REPAIRS) |  | RAC STRUCTURAL REVIEW | [7 empty] | Review and compare the structural technical combining of 2015 Chapter 4 and Chapter 6 sections with new 2018 Chapter 4. | RECOMMEND RAC STRUCTURAL REVIEW COMPARING 2015 SECTIONS 301.1.4 , 401.2.3, 404.2, 404.3, 606.6.1, 606.2.2, 606.2.3 AND CONDENSED CONTENT FOR REPAIRS IN 2018 SECTIONS 405.2.2, 405.2.3 AND 405.2.4
|  | [BS] 404.3 Substantial structural damage to gravity load-carrying components. (PRESCRIPTIVE COMPLIANCE METHOD ) | [BS] 405.2.4 Substantial structural damage to to gravity load-carrying components. (CHAPTER 4 REPAIRS) |  | RAC STRUCTURAL REVIEW | [7 empty] | Review and compare the structural technical combining of 2015 Chapter 4 and Chapter 6 sections with new 2018 Chapter 4. | RECOMMEND RAC STRUCTURAL REVIEW COMPARING 2015 SECTIONS 301.1.4 , 401.2.3, 404.2, 404.3, 606.6.1, 606.2.2, 606.2.3 AND CONDENSED CONTENT FOR REPAIRS IN 2018 SECTIONS 405.2.2, 405.2.3 AND 405.2.4
|  | 405 FIRE ESCAPE | NONE REGARDING REPAIRS | 2015 FIRE ESCAPE PROVISIONS & CLARIFICATION FOR EXISTING SHOULD BE MAINTAINED FOR REPAIRS | RETAIN- MODIFY |  |  | X | X | X |  |  | THIS SECTION MAY HAVE BEEN UNINTENTIONAL REMOVED FOR REPAIRS. IT SHOULD BE ADDED IN 2018 CHAPTER 4 REPAIRS, SECTION 402 FOR CLARIFICATION. | ( USE 2018 SECTION 504.1.2 LANGUAGE - ADD SECTION, MODIFY FOR REPAIRS:) 402.2 Existing Fire Escapes: Existing fire escapes shall continue to be accepted as a component in the means of egress in existing buildings and repaired to function as originally constructed.
|  | SECTION 605 ACCESSIBILITY 605.1 General. | OMITTED IN 2018 | ACCESSIBILITY (REPAIRS) 605.1 General. Repairs shall be done in a manner that maintains the level of accessibility provided. | RETAIN- MODIFY | [7 empty] | TAC RECOMMENDATION TO L&I TO ADDRESS CHANGE AND OMISSION OF REPAIRS REGARDING ACCESSSIBILITY. 2015 SECTION 605 SHOULD BE RETAINED AND CLARIFIED IN 2018 to CHAPTER 4 REPAIRS -ADD SECTION 409 ACCESSIBILITY 409.1 General. Repairs shall be done in a manner that maintains the level of accessibility provided. | TAC RECOMMENDATION TO L&I TO ADDRESS CHANGE IN 2018 IEBC REGARDING ACCESSSIBILITY. | X
|  | [BS] 606.2.2 Substantial structural damage to vertical elements of the lateral force-resisting system. (REPAIRS) | [BS] 606.2.2 Substantial structural damage to vertical elements of the lateral force-resisting system. (REPAIRS) | [10 empty] | RECOMMEND RAC STRUCTURAL REVIEW COMPARING 2015 SECTIONS 301.1.4 , 401.2.3, 404.2, 404.3, 606.6.1, 606.2.2, 606.2.3 AND CONDENSED CONTENT FOR REPAIRS IN 2018 SECTIONS 405.2.2, 405.2.3 AND 405.2.4
|  | [BS] 606.2.3 Substantial structural damage to gravity load-carrying components. (REPAIRS ) | [BS] 606.2.3 Substantial structural damage to gravity load-carrying components. (REPAIRS ) | [10 empty] | RECOMMEND RAC STRUCTURAL REVIEW COMPARING 2015 SECTIONS 301.1.4 , 401.2.3, 404.2, 404.3, 606.6.1, 606.2.2, 606.2.3 AND CONDENSED CONTENT FOR REPAIRS IN 2018 SECTIONS 405.2.2, 405.2.3 AND 405.2.4
|  | NONE | [BS] 405.2.2 Disproportionate earthquake damage | NEW IN 2018- REVIEW CONSEQUENCES A building assigned to Seismic Design Category D, E or F that has sustained disproportionate earthquake damage shall be subject to the requirements for buildings with substantial structural damage to vertical elements of the lateral force-resisting system. | [8 empty] | NEW 2018 SECTION- REVIEW | RECOMMEND RAC STRUCTURAL REVIEW COMPARING 2015 SECTIONS 301.1.4 , 401.2.3, 404.2, 404.3, 606.6.1, 606.2.2, 606.2.3 AND CONDENSED CONTENT FOR REPAIRS IN 2018 SECTIONS 405.2.2, 405.2.3 AND 405.2.4
IEBC- 2018 | EB-21-15 |  | 502.7, 502.15, 804, 1105 (MODIFY & COORDINATE WITH IBC SECTION 915 ) | CARBON MONOXIDE DETECTORS | [10 empty] | COORDINATE WITH PA UCC & PA 2013 ACT 121 CARBON MONOXIDE ALARM STANDARDS ACT - ENACTMENT
IEBC | EB-61-15 | 804.2.4 | 904.1.4 (REMOVED FROM CHAPTER 8-ALTERATION LEVEL 2 | OTHER REQUIRED AUTOMATIC SPRINKLER SYSTEM (Sprinkler systems and Fire Pumps) LEVEL 2 REQUIREMENT MOVED TO LEVEL 3 ALTERATIONS. | MODIFY |  |  | X | X | X | The 2015 language addresses building safety concerns for various occupancy, hazard level and building types. The 2015 language can remain intact. Following research of other states 2018 code adoptions to date Source: Upcodes.com), Maryland did not adopt, Minnesota did not adopt, Colorado did adopt, Utah did adopt. | Contrary to the code change proposal, the proposed language WILL increase construction costs, substantially, for a new water line, meter or meter pit, fire pump, and per NFPA 20 could require the use of a generator to operate the fire pump if there is not a reliable power source. NFPA 20A defines reliable power as a source of power with no more than a 4-hour shutdown in the previous year. Pennsylvania relies heavily on the ability to reuse existing buildings in order to preserve our towns and communities, and as an economically feasible option. | The proposed language has re-written the text, which the Committee has not addressed. The original text states “The building has sufficient municipal water supply for design of an automatic sprinkler system available to the floor without installation of a new fire pump.” The proposed text states “The building site has sufficient municipal water supply for design and installation of an automatic sprinkler system.” The proposer describes their rationale as eliminating the fire pump as the deciding factor but does not provide justification or impacts for inserting the word “site”. The Committee provided no written commentary on this substantial proposal which entirely changes the meaning of the provision. The change proposal is incomplete and has significant implications.There is no option for technical infeasibility for adding a new water line, meter, fire pump or generator. Repurposing of some buildings would not be possible under the 2018 modification.
IEBC | EB68-15 PART I |  | NEW SECTION 1106- STORM SHELTERS ADDED TO CHAPTER 11 ADDITIONS |  | MODIFY |  |  |  | X | X |  | A two classroom addition to and existing School would have an occupant load over 50. A storm shelter requires its own emergency ventilations system, toilet and hand washing facility, sanitation facility support systems, conversion of plumbing system with protected potable water system, and electrical power. All of this for a two classroom addition is excessive. |  | 1106.1 Addition to a Group E occupancy. Where an addition is added to an existing Group E occupancy located in an area where the shelter design wind speed for tornados is 250 mph in accordance with Figure 304.2(1) of ICC 500 and the occupant load based on the Pennsylvania Department of Education guidelines in the addition is 50 100 or more, the addition shall have a storm shelter constructed in accordance with ICC 500. Exceptions: 1. Group E day care facilities. 2. Group E occupancies accessory to places of religious worship. 3. Additions meeting the requirements for shelter design in ICC 500.
IBC | EB68-15 PART II | SECTION 423 STORM SHELTER | SECTION 423 STORM SHELTER | MODIFICATION OF LANGUAGE- | MODIFY |  |  |  | X | X |  |  |  | COORDINATE EB68-15 PART I IBC SECTION 423 WITH MODIFIED IEBC EB68-15 PART II LANGUAGE WITH IBC
IEBC | EB 31-16 | PRESCRIPTIVE COMPLIANCE METHOD SECTION 403 (ALTERATIONS) | NEW SECTION 503.11 IN 503 ALTERATION (ALSO ADDED IN LEVEL 3 ALTERATIONS SECTION 906.2 ) | SUBSTANTIAL STRUCTURAL ALTERATION | RAC STRUCTURAL REVIEW |  |  |  | X | X |  | THE CHANGES SHOULD BE REVIEWED FOR ECONOMIC IMPACT AND MODIFIED ACCORDINGLY. THIS WOULD APPLY TO ALL ALTERATIONS NOT JUST LEVEL 3. | CLARIFICATION OF WHEN THIS APPLIES IS WARRANTED. IT IS VERY COMPLICATED AND POTENTIALLY CONFUSING. | RECOMMEND RAC STRUCTURAL REVIEW COMPARING 2015 SECTIONS 301.1.4 , 401.2.3, 404.2, 404.3, 606.6.1, 606.2.2, 606.2.3 AND CONDENSED CONTENT FOR REPAIRS IN 2018 SECTIONS 405.2.2, 405.2.3 AND 405.2.4
IEBC- |  | 301.1.1 | 301.3.1 (2015 IEBC ) Prescriptive compliance method. (COORDINATE WITH THE IFC) | Alterations, additions and changes of occupancy complying with Chapter 5 of this code in buildings complying with the International Fire Code shall be considered in compliance with the provisions of this code. | N |  |  |  | X | X |  | X | MODIFY TO DELETE REFERENCE TO IFC. THIS SECTION REFERENCING THE IFC GENERALLY IS IN DIRECT CONFLICT WITH THE PA UCC. SPECIFICALLY, 2015 & 2018 IFC CHAPTER 11 CONSTRUCTION REQUIREMENTS FOR EXISTING BUILDINGS REQUIRES EGRESS AND FIRE RESISTANCE RATINGS FOR EXISTING BUILDINGS. FOR EXAMPLE, AN EXISTING BUILDING COULD HAVE LEGALLY BEEN ALTERED SINCE APRIL 2004, BUT NOT COMPLY WITH THIS IFC CHAPTER AND MANY OTHER SECTIONS OF THE IFC INCLUDING CHAPTER 1 SCOPE AND ADMINISTRATION. CHAPTER 11 WAS ADDED IN 2012 AFTER THE PA UCC AND SHOULD HAVE BEEN REJECTED IN THE ADOPTION OF 2015. | NEED TO DISCUSS WITH TAC | X
2018 IEBC ACCESSIBILITY CHANGES (REFER TO L&I)
| EB13-15 | None | 301.5 (NEW) | Compliance with Accessibility: REFERENCE STANDARD FOR EXISTING BUILDINGS TO COMPLY WITH ANSI/ ICC A117.1 2009 | Y | X |  | X | X | X |  |  |  | TAC RECOMMENDATION TO L&I TO ADDRESS CHANGE IN 2018 IEBC REGARDING ACCESSSIBILITY.
| EB33-15 | SECTION 410 ACCESSIBILITY FOR EXISTING BUILDINGS (PRESCRIPTIVE COMPLIANCE METHOD), SECTIONS 705, 806, 906, 1006, 1105, & 1204 (CHAPTER 12 HISTORIC BUILDINGS) | SECTION 305 ACCESSIBILITY FOR EXISTING BUILDINGS (PROVISIONS FOR ALL COMPLIANCE METHODS), 801.1, 901.2 & B101 & B102 | Editorial change that all provisions for accessibility moved to 2018 Chapter 3 (PROVISIONS FOR ALL COMPLIANCE METHODS) | [9 empty] | TAC RECOMMENDATION TO L&I TO ADDRESS CHANGE IN 2018 IEBC REGARDING ACCESSSIBILITY. | X
| EB39-15 | 410.6 Alterations Exception #4 (PRESCRIPTIVE METHOD) | 305.6 Alterations (Exception #4) | Eliminates change of occupancy in conjunction with alteration for Exception for TYPE B DWELLING OR SLEEPING UNITS (MOVED from 2015 PRESCRIPTIVE METHOD to 2018 PROVISION FOR ALL COMPLIANCE METHODS) | [7 empty] | The definition of technical infeasibility in the IEBC refers only to structural modifications and does not refer to relocation of major mechanical, electrical or plumbing systems. When undergoing a change of occupancy, new systems would be added to accommodate new apartments, and therefore Type B units can be created. In existing apartment configurations which are not undergoing a change of occupancy, existing MEP infrastructure is potentially being reused. This requirement could cause significant additional scope, and may not be technically feasible for these reasons. | The definition of Technical Infeasibility could be addressed by L&I. | TAC RECOMMENDATION TO L&I TO ADDRESS CHANGE IN 2018 IEBC REGARDING ACCESSSIBILITY.
| EB40-15 | 410.8.1 (PRESCRIPTIVE COMPLIANCE METHOD) & 705.1.1 (ALTERATION LEVEL 1) | 305.8.1 (PROVISIONS FOR ALL COMPLIANCE METHODS) (SCOPING FOR ALL ALTERATIONS) | ENTRANCES (SCOPING FOR ALTERATIONS) | [9 empty] | TAC RECOMMENDATION TO L&I TO ADDRESS CHANGE IN 2018 IEBC REGARDING ACCESSSIBILITY.
| EB41-15 | 410.8.4 (PRESCRIPTIVE COMPLIANCE METHOD) & 806.2 (ALTERATION LEVEL 2) | 305.8.4 (PROVISIONS FOR ALL COMPLIANCE METHODS) (SCOPING FOR ALL ALTERATIONS) | STAIRWAYS AND ESCALATORS IN EXISTING BUILDINGS (SCOPING FOR ALTERATIONS) | [9 empty] | TAC RECOMMENDATION TO L&I TO ADDRESS CHANGE IN 2018 IEBC REGARDING ACCESSSIBILITY.
| EB45-15 | 410.8.9 (PRESCRIPTIVE COMPLIANCE METHOD) & 705.1.6 (ALTERATION LEVEL 1) | 305.8.9 (PROVISIONS FOR ALL COMPLIANCE METHODS) (SCOPING FOR ALL ALTERATIONS) | JURY BOXES AND WITNESS STANDS (SCOPING FOR ALTERATIONS) | [9 empty] | TAC RECOMMENDATION TO L&I TO ADDRESS CHANGE IN 2018 IEBC REGARDING ACCESSSIBILITY.
| EB47-15 | 410.9 HISTORIC BUILDINGS (PRESCRIPTIVE COMPLIANCE METHOD) & 1204.1 & 1205.15 | 305.9 HISTORIC BUILDINGS (PROVISIONS FOR ALL COMPLIANCE METHODS) | HISTORIC BUILDINGS/ ACCESSIBILITY REQUIREMENTS/ TYPE B DWELLING UNITS | [9 empty] | TAC RECOMMENDATION TO L&I TO ADDRESS CHANGE IN 2018 IEBC REGARDING ACCESSSIBILITY. | X
| EB48-15 | 410.9.3 HISTORIC BUILDINGS (PRESCRIPTIVE COMPLIANCE METHOD) & 1204.1.3 | 305.9.3 HISTORIC BUILDINGS (PROVISIONS FOR ALL COMPLIANCE METHODS) | PUBLIC VS. MAIN ENTRANCE- CLARIFIED (HISTORIC BUILDINGS) | [9 empty] | TAC RECOMMENDATION TO L&I TO ADDRESS CHANGE IN 2018 IEBC REGARDING ACCESSSIBILITY. | X
| EB49-15 | 410.8.10 (PRESCRIPTIVE COMPLIANCE METHOD) & 705.1.9 (ALTERATION LEVEL 1)& 806.3 (ALTERATION LEVEL 2) | 305.8.10 & 305.8.11 (PROVISIONS FOR ALL COMPLIANCE METHODS) (SCOPING FOR ALL ALTERATIONS) | TOILET ROOMS & ADDITIONAL TOILET AND BATHING FACILITIES (SCOPING FOR ALTERATIONS) | [9 empty] | TAC RECOMMENDATION TO L&I TO ADDRESS CHANGE IN 2018 IEBC REGARDING ACCESSSIBILITY.
| EB55-15 & EB57-15 | 705.1.5 (ALTERATION LEVEL 1) | NONE | DELETES ACCESSIBLE ROUTE TO DINING AREAS IN LEVEL 1 ALTERATIONS | [8 empty] | While this change was only listed in Level 1 alterations and is not often encountered, it makes the existing building codes stricter than ADA 2010, 206.2.5: a. 206.2.5 Restaurants and Cafeterias. In restaurants and cafeterias, an accessible route shall be provided to all dining areas, including raised or sunken dining areas, and outdoor dining areas. Exception 2. In alterations, an accessible route shall not be required to existing raised or sunken dining areas, or to all parts of existing outdoor dining areas where the same services and decor are provided in an accessible space usable by the public and not restricted to use by people with disabilities. b. I would be interested to hear from the group if a change is warranted or is minimal enough that 20 percent rule or technical infeasibility can in fact address it as stated. | TAC RECOMMENDATION TO L&I TO ADDRESS CHANGE IN 2018 IEBC REGARDING ACCESSSIBILITY.
IEBC | EB65-15 | 906.2 (ALTERATION LEVEL 3) | 305.8.8 (PROVISIONS FOR ALL COMPLIANCE METHODS) | TYPE B DWELLING OR SLEEPING UNITS (EXCEPTION REMOVED FOR PRIOR TO MARCH 15, 1991 FOR LEVEL 3 ALTERATIONS) | [7 empty] | THE COST TO PROVIDE TYPE B DWELLING UNITS IN BUILDINGS PRIOR TO MARCH 1991 MAY BE COST PROHIBITIVE AND TECHNICALLY INFEASIBLE. THE EXCEPTION SHOULD BE KEPT. | THIS CODE CHANGE ALTHOUGH OUTSIDE OF THE SCOPE OF THE RAC SINCE IT REGARDS ACCESSIBILITY, SHOUD BE COORDINATED WITH THE PA UCC . | TAC RECOMMENDATION TO L&I TO ADDRESS CHANGE IN 2018 IEBC REGARDING ACCESSSIBILITY.
EXISTING IEBC (CONFLICT WITH PA UCC- REQUIRES ADMIN TAC REVIEW)
IEBC |  |  | CHAPTER 1 | SCOPE & ADMINISTRATION | REVIEW |  |  |  | X | X |  |  |  |  | X
IEBC |  |  | CHAPTER 2 | DEFINITIONS | REVIEW | [9 empty] | X
IEBC |  |  | CHAPTER 12 | HISTORIC BUILDINGS | REVIEW |  |  |  | X | X |  |  |  |  | X
IEBC |  |  | CHAPTER 16 | REFERENCED STANDARDS | REVIEW |  |  |  | X | X |  |  |  |  | X
|  |  |  | ICC IFC CHAPTER 11 SECTIONS CONFLICTS WITH PA UCC | REVIEW |  |  |  | X | X |  |  |  |  | X
|  |  |  | ASHRAE | REVIEW |  |  |  | X | X |  |  |  |  | X
|  |  |  | ASCE | REVIEW |  |  |  | X | X |  |  |  |  | X
IEBC |  |  | APPENDIX A | APPENDIX A GUIDELINES FOR THE SEISMIC RETROFIT OF EXISTING BUILDINGS | REVIEW |  |  |  | X | X |  |  |  |  | X
IEBC |  |  | RESOURCE A | RESOURCE A GUIDELINES ON FIRE RATINGS OF ARCHAIC MATERIALS AND ASSEMBLIES | N |  |  |  | X | X |  |  |  |  | X

## Sheet1 (VOID)
I-Code | Code Change Number | 2015 Code Section | 2018 Code Section | Pertains to: | Recommend Y or N | Vote |  | Health Safety Welfare | Econ & Financial Impact | Tech Feasibility | Comment |  |  | TAC Recommendation (PROPOSED) | POTENTIAL CONFLICT WITH PA UCC
[6 empty] | For | Against |  |  |  | HSW | Econ | Tech Feasibility
IEBC (AND IBC) | ADM 77-16 | NONE | 106.2.5 (ALSO APPLIES TO IBC 107.2.5) COORDINATE | 106.2.5 Exterior balcony and elevated walking surfaces. | MODIFY |  |  |  |  | X |  | EXCESSIVE DOCUMENTATION & LIABILITY OF ARCHITECT | THIS IS DIFFICULT TO ENFORCE. MANY IMPERVIOUS BALCONY INSTALLATIONS, PARTICULARLY IN SE PA, MAY INVOLVE A COMPOSITE DECK WHICH MAY BE FIELD INSTALLED. MANUFACTURER'S INSTALLATION INSTRUCTIONS MAY NOT BE APPLICABLE AND TYPICALLY, ALTHOUGH PERHAPS REFERENCED, WOULD NOT BE INCLUDED IN THE CONSTRUCTION DOCUMENTS UNLESS FULL SPECIFICATIONS ARE PROVIDED. IN ADDITION, THE DESIGN PROFESSIONAL MAY NOT HAVE THIS INFORMATION AT THE TIME OF PERMIT, PARTICULARLY THE FINAL CHOICE IN MANUFACTURER AND IT IS A POTENTIAL LIABILITY TO HAVE TO PROVIDE DETAILS FOR "ALL" ELEMENTS, PARTICULARLY SINCE IN EXISTING BUILDINGS ELEMENTS ARE TYPICALLY NOT EXPOSED UNTIL THE ACTUAL CONSTRUCTION. MODIFY LANGUAGE AND LAST SENTENCE. (DELETE ...all in first sentence & MODIFY the last sentence.) | MODIFY 2018 AS FOLLOWS: 106.2.5 Exterior balcony and elevated walking surfaces. Where the scope of work involves a balcony or other elevated walking surfaces exposed to water from direct or blowing rain, snow, or irrigation, and the structural framing is protected by an impervious moisture barrier, the construction documents shall include details for elements of the impervious moisture barrier system. The manufacturer’s installation instructions shall be available to the code official during inspection as a differed submittal.
IEBC (AND IBC) | ADM 87-16 (AMPC 1 and 2) |  | 109.3.6 (ALSO APPLIES TO IBC 110.3.6) COORDINATE | IEBC 109.3.6 Weather exposed balcony and walking surface waterproofing. . | N |  |  |  |  | X |  |  | NOT ENFORCIBLE - AT SOME POINT ELEMENTS OF THE "SYSTEM" WILL BE CONCEALED. EXCESSIVE INSPECTIONS WOULD BE REQUIRED UNLESS THE INSPECTOR WAS PRESENT DURING THE ENTIRE INSTALLATION. DELETE IN ENTIRITY 109.3.6 Weather exposed balcony and walking surface waterproofing. Where the scope of work involves a balcony or other elevated walking surfaces exposed to water from direct or blowing rain, snow, or irrigation, and the structural framing is protected by an impervious moisture barrier, all elements of the impervious moisture barrier system shall be not be concealed until inspected and approved. Exception: Where special inspections are provided in accordance with Section 1705.1.1, Item 3.
IEBC | EB-10 |  | MULTIPLE IMPLICATIONS 404 REPAIRS ESP. 404.2 EXCEPTIONS (2015 MAINTAIN FOR REPAIRS) | REPAIRS | MODIFY AS NEEDED |  |  |  | X | X |  |  | THE INTENT AND IMPLICATIONS NEED TO BE ASSESSED. UNINTENDED CONSEQUENCES MAY OCCUR.
IEBC | EB-10 |  | 405 FIRE ESCAPE (2015 MAINTAIN FOR REPAIRS) | FIRE ESCAPE PROVISIONS SHOULD BE MAINTAINED FOR REPAIRS | RETAIN- MODIFY AS NEEDED |  |  | X | X | X |  |  | THIS SECTION MAY HAVE BEEN UNINTENTIONAL REMOVED FOR REPAIRS. IT SHOULD BE ADDED TO 2018 SECTION 302 GENERAL PROVISIONS OR IN THE REPAIR CHAPTER FOR CLARIFICATION.
IEBC | EB-10 |  | 406 GLASS REPLACEMENT & REPLACEMENT WINDOWS (2015 MAINTAIN FOR REPAIRS) | GLASS REPLACEMENT PROVISIONS SHOULD BE MAINTAINED FOR REPAIRS | RETAIN- MODIFY AS NEEDED |  |  | X | X | X |  |  | THIS SECTION MAY HAVE BEEN UNINTENTIONAL REMOVED FOR REPAIRS. IT SHOULD BE ADDED TO 2018 SECTION 302 GENERAL PROVISIONS OR IN THE REPAIR CHAPTER FOR CLARIFICATION.
IEBC- 2018 | EB16-15 |  | 401.2.4 | FIRE RESISTANCE RATING | N |  |  |  | X | X |  |  | THIS ADDED SECTION IS CONFUSING AND COMPLICATED. IT IS ADDED BUT SERVES NO PURPOSE. THE COST IMPACT STATEMENT ALSO IS QUESTIONABLE. THIS WOULD INCREASE THE COST OF CONSTRUCTION. |  | REVIEW
IEBC- 2018 | EB-21-15 |  | 502.7, 502.15, 804, 1105 (MODIFY & COORDINATE WITH IBC SECTION 915 ) | CARBON MONOXIDE DETECTORS (REFERENCE TO IFC) | MODIFY OR ADD NEW TEXT TO IEBC |  |  |  |  | X |  |  | MODIFY TO DELETE REFERENCE TO IFC 1103.9. IFC CHAPTER 11 : CONSTRUCTION REQUIREMENTS FOR EXISTING BUILDINGS IS IN DIRECT CONFLICT WITH PA UCC. EITHER REFERENCE TO IBC SECTION 915 INSTEAD WITH APPROPRIATE IEBC INTENT OR INSERT IFC 1103.9 IN THE IEBC. IBC SECTION 915 ALSO NEEDS TO DELETE THE REFERENCE TO IFC CHAPTER 11. COORDINATE WITH IBC. |  | COORDINATE WITH PA UCC & PA 2013 ACT 121 CARBON MONOXIDE ALARM STANDARDS ACT - ENACTMENT
IEBC | EB-28-15 |  | 405.5 - 2015 (IEBC 2018 SECTION 504) | OPENINGS PROTECTIVES (FIRE ESCAPE) | MODIFY / ADD EXCEPTION : | [7 empty] | ADD ADDITIONAL EXCEPTION FOR CLARIFICATION: EXISTING FIRE ESCAPES NOT PART OF THE ALTERATION OR WORK AREA
IEBC | EB-61-15 |  | 804.2.4 | OTHER REQUIRED AUTOMATIC SPRINKLER SYSTEM | N |  |  |  | X | X |  | THE CODE CHANGE ELIMINATES THE CONDITION WHICH ADDRESSES A SITE CONDITION THAT DOES NOT HAVE SUFFICIENT MUNICIPAL WATER SUPPLY WITHOUT INSTALLATION OF A NEW FIRE PUMP. THIS SHOULD REMAIN AS IN 2015 . THE COST IMPACT STATEMENT IS INCORRECT; THIS CHANGE COULD SIGNIFICANTLY INCREASE THE COST. | X
IEBC | EB-62-15 |  | 804.4.1.7 | GROUP R-4 : FIRE ALARMS | MODIFY OR ADD NEW TEXT TO IEBC | [7 empty] | MODIFY TO DELETE REFERENCE TO THE IFC AND IFC 1103.7.7. IFC CHAPTER 11 : CONSTRUCTION REQUIREMENTS FOR EXISTING BUILDINGS IS IN DIRECT CONFLICT WITH PA UCC. INSERT IFC 1103.7.7. IN THE IEBC. |  | X
IEBC | EB65-15 |  | 906.2 | TYPE B DWELLING OR SLEEPING UNITS | KEEP EXCEPTION REVIEW & COORDINATE WITH PA UCC | [6 empty] | THE COST TO PROVIDE TYPE B DWELLING UNITS IN BUILDINGS PRIOR TO MARCH 1991 MAY BE COST PROHIBITIVE AND TECHNICALLY INFEASIBLE. THE EXCEPTION SHOULD BE KEPT. | THIS CODE CHANGE ALTHOUGH OUTSIDE OF THE SCOPE OF THE RAC SINCE IT REGARDS ACCESSIBILITY, SHOUD BE COORDINATED WITH THE PA UCC .
IEBC | EB 74-15 |  | 1401.2.4 | ALTERATIONS AND REPAIRS | N |  |  |  | X | X |  | THE CHANGES SHOULD BE REVIEWED FOR ECONOMIC IMPACT AND MODIFIED ACCORDINGLY.
IEBC | EB 31-16 |  | 403.8 | SUBSTANTIAL STRUCTURAL ALTERATION | REVIEW |  |  |  | X | X |  | THE CHANGES SHOULD BE REVIEWED FOR ECONOMIC IMPACT AND MODIFIED ACCORDINGLY. | CLARIFICATION OF WHEN THIS APPLIES IS WARRANTED. IT IS VERY COMPLICATED AND POTENTIALLY CONFUSING.
IEBC | EB 58-16 |  | 408.4 | STRUCTURAL (HISTORIC BUILDINGS) | N |  |  |  | X | X |  | THE COST IMPACT WILL INCREASE CONSTRUCTION. THE IMPLICATIONS AND APPLICABILITY NEEDS REFINEMENT | THIS HAS UNFORESEEN IMPLICATIONS. REFINEMENT IS NEEDED AND POTENTIAL CONFLICT WITH PA UCC IS WARRANTED. |  | X
IEBC | MULTIPLE |  | DELETE ALL REFERENCES TO SEISMIC UNLESS SEISMIC DESIGN CATEGORY A & B | OMIT SEISMIC SECTIONS NOT APPLICABLE TO PA |  |  |  |  | X | X
2018 IEBC ACCESSIBILITY CHANGES (REFER TO L&I)
| EB13-15 | None | 301.5 | Compliance with Accessibility: REFERENCE STANDARD FOR EXISTING BUILDINGS TO COMPLY WITH ANSI/ ICC A117.1 2009 | Y | X |  | X | X | X |  |  |  | TAC RECOMMENDATION TO L&I TO ADDRESS CHANGE IN 2018 IEBC REGARDING ACCESSSIBILITY.
| EB33-15 | SECTION 410 ACCESSIBILITY FOR EXISTING BUILDINGS (PRESCRIPTIVE COMPLIANCE METHOD), SECTIONS 705, 806, 906, 1006, 1105, & 1204 (CHAPTER 12 HISTORIC BUILDINGS) | SECTION 305 ACCESSIBILITY FOR EXISTING BUILDINGS (PROVISIONS FOR ALL COMPLIANCE METHODS), 801.1, 901.2 & B101 & B102 | Editorial change that all provisions for accessibility moved to 2018 Chapter 3 (PROVISIONS FOR ALL COMPLIANCE METHODS) | [9 empty] | TAC RECOMMENDATION TO L&I TO ADDRESS CHANGE IN 2018 IEBC REGARDING ACCESSSIBILITY. | X
| EB39-15 | 410.6 Alterations Exception #4 (PRESCRIPTIVE METHOD) | 305.6 Alterations (Exception #4) | Eliminates change of occupancy in conjunction with alteration for Exception for TYPE B DWELLING OR SLEEPING UNITS (MOVED from 2015 PRESCRIPTIVE METHOD to 2018 PROVISION FOR ALL COMPLIANCE METHODS) | [9 empty] | TAC RECOMMENDATION TO L&I TO ADDRESS CHANGE IN 2018 IEBC REGARDING ACCESSSIBILITY.
| EB40-15 |  |  | ENTRANCES | [9 empty] | TAC RECOMMENDATION TO L&I TO ADDRESS CHANGE IN 2018 IEBC REGARDING ACCESSSIBILITY.
| EB41-15 |  |  | STAIRWAYS AND ESCALATORES IN EXISTING BUILDINGS | [9 empty] | TAC RECOMMENDATION TO L&I TO ADDRESS CHANGE IN 2018 IEBC REGARDING ACCESSSIBILITY.
| EB45-15 |  | 305.8.9 | JURY BOXES AND WITNESS STANDS | [9 empty] | TAC RECOMMENDATION TO L&I TO ADDRESS CHANGE IN 2018 IEBC REGARDING ACCESSSIBILITY.
| EB47-15 |  |  | HISTORIC BUILDINGS/ ACCESSIBILITY REQUIREMENTS/ TYPE B DWELLING UNITS | [9 empty] | TAC RECOMMENDATION TO L&I TO ADDRESS CHANGE IN 2018 IEBC REGARDING ACCESSSIBILITY. | X
| EB49-15 |  |  | TOILET AND BATHING FIXTURES | [9 empty] | TAC RECOMMENDATION TO L&I TO ADDRESS CHANGE IN 2018 IEBC REGARDING ACCESSSIBILITY.
|  |  |  | ENTRANCES | [9 empty] | TAC RECOMMENDATION TO L&I TO ADDRESS CHANGE IN 2018 IEBC REGARDING ACCESSSIBILITY.
|  |  |  | ENTRANCES | [9 empty] | TAC RECOMMENDATION TO L&I TO ADDRESS CHANGE IN 2018 IEBC REGARDING ACCESSSIBILITY.
|  |  |  | ENTRANCES | [9 empty] | TAC RECOMMENDATION TO L&I TO ADDRESS CHANGE IN 2018 IEBC REGARDING ACCESSSIBILITY.
|  |  |  | ENTRANCES | [9 empty] | TAC RECOMMENDATION TO L&I TO ADDRESS CHANGE IN 2018 IEBC REGARDING ACCESSSIBILITY.
ENTRANCES
EXISTING IEBC (CONFLICT WITH PA UCC- REQUIRES REVIEW)
IEBC |  |  | CHAPTER 1 | SCOPE & ADMINISTRATION | REVIEW |  |  |  | X | X |  |  |  |  | X
IEBC |  |  | CHAPTER 2 | DEFINITIONS | REVIEW | [9 empty] | X
IEBC |  |  | CHAPTER 12 | HISTORIC BUILDINGS | REVIEW |  |  |  | X | X |  |  |  |  | X
IEBC |  |  | CHAPTER 16 | REFERENCED STANDARDS | REVIEW |  |  |  | X | X |  |  |  |  | X
|  |  |  | ICC IFC CHAPTER 11 SECTIONS CONFLICTS WITH PA UCC | REVIEW |  |  |  | X | X
|  |  |  | ASHRAE | REVIEW |  |  |  | X | X
|  |  |  | ASCE | REVIEW |  |  |  | X | X
1EBC- 2018 |  |  | 301.3.1 (2015 IEBC 301.1.1) Prescriptive compliance method. (COORDINATE WITH THE IFC) | Alterations, additions and changes of occupancy complying with Chapter 5 of this code in buildings complying with the International Fire Code shall be considered in compliance with the provisions of this code. | N |  |  |  | X | X |  | X | MODIFY TO DELETE REFERENCE TO IFC. THIS SECTION REFERENCING THE IFC GENERALLY IS IN DIRECT CONFLICT WITH THE PA UCC. SPECIFICALLY, 2015 & 2018 IFC CHAPTER 11 CONSTRUCTION REQUIREMENTS FOR EXISTING BUILDINGS REQUIRES EGRESS AND FIRE RESISTANCE RATINGS FOR EXISTING BUILDINGS. FOR EXAMPLE, AN EXISTING BUILDING COULD HAVE LEGALLY BEEN ALTERED SINCE APRIL 2004, BUT NOT COMPLY WITH THIS IFC CHAPTER AND MANY OTHER SECTIONS OF THE IFC INCLUDING CHAPTER 1 SCOPE AND ADMINISTRATION. CHAPTER 11 WAS ADDED IN 2012 AFTER THE PA UCC AND SHOULD HAVE BEEN REJECTED IN THE ADOPTION OF 2015. |  | X
IEBC |  |  | APPENDIX A | APPENDIX A GUIDELINES FOR THE SEISMIC RETROFIT OF EXISTING BUILDINGS | REVIEW |  |  |  | X | X |  |  |  |  | X
IEBC |  |  | RESOURCE A | RESOURCE A GUIDELINES ON FIRE RATINGS OF ARCHAIC MATERIALS AND ASSEMBLIES | N |  |  |  | X | X |  |  |  |  | X