## Sheet1
I-Code | Code Change Number | Code Section | Pertains to: | Recommend Y or N | Vote |  | Health Safety Welfare | Econ & Financial Impact | Tech Feasibility | Comment
[5 empty] | For | Against |  |  |  | HSW | Econ | Tech Feasibility
| CE268-16 | IECC C202 |  | Y |  |  |  | x |  |  | These requirements are required elsewhere in the code.
| CE137-16 |  |  | Y |  |  |  | x |  |  | The clarification avoids ambiguity with handicap accessibility.
| CE267-16 | [10 empty] | No info in change document.
| CE26-16 |  |  | Y |  |  |  |  | x |  |  | The individual marking of panels does not make sense and therefore you can mark the bundle with the R value.
| CE74-16 |  |  | Y |  |  |  | x |  |  | This is misplaced and is better suited in a different section.
| CE34-16 |  |  | Y |  |  |  | x |  |  | This is misplaced and is better suited in a different section.
| CE30-16 | [6 empty] | x |  |  | The identification of opaque as a building material with its corresponding R values allows for greater energy efficiency
| CE36-16 |  |  | Y |  |  |  | x |  |  | The editorial changes made make things easier for people.
| CE119-16 |  |  | Y |  |  |  |  | x |  |  | The section has been reorganized for ease of use.
| CE136-16 |  |  | Y |  |  |  | x |  |  | Additional costs are offset by lower heating costs.
| CE138-16 |  |  | Y |  |  |  | x |  |  | The upgrade costs though high will be recouped through energy savings.
| CE143-16 |  |  | Y |  |  |  | x |  |  | The controls that are required are now standard items on most DOAS systems.
| CE198-16 |  |  | Y |  |  |  | x |  |  | Exist signs are manufactured to federal standards and required by them.
| CE213-16 |  |  | Y |  |  |  | x |  |  | This change saves fossil fuels and is consistent with the current residential code.
| CE55-16 |  |  | Y |  |  |  |  | x |  | The reorganization of information will be helpful to users.
| CE65-16 |  |  | Y |  |  |  |  | x |  | The editorial changes made make things easier for people.
| CE60-16 |  |  | Y |  |  |  | x |  |  | The information provided will provide information for the consumers for garages.
| CE61-16 |  |  | Y |  |  |  |  | x |  |  | Changes reflect F values that have been updated with the R value table.
| CE84-16 |  |  | Y |  |  |  | x |  |  | These changes were strictly editorial in nature.
| CE68-16 |  |  | Y |  |  |  |  | x |  |  | This change is editorial only.
| CE69-16 |  |  | Y |  |  |  |  | x |  |  | This change is editorial only.
| CE72-16 |  |  | Y |  |  |  | x |  |  | The equation has been modified to include the envelope which will result in a cost decrease.
| CE78-16 |  |  | Y |  |  |  | x |  |  | The R value is over 17 for all climate zones and will require 2 layers.
| CE81-16 |  |  | Y |  |  |  |  | x |  |  | This change is editorial only.
| CE82-16 |  |  | Y |  |  |  |  | x |  |  | This change is editorial only.
| CE83-16 |  |  | Y |  |  |  |  | x |  |  | This change is editorial only.
| CE87-16 |  |  | Y |  |  |  |  | x |  |  | This provides additional technical information.
| CE94-16 |  |  | Y |  |  |  | x |  |  | There is no cost increase as the codes will be in alignment with the current ASHRE requirements and models.
| CE97-16 |  |  | Y |  |  |  | x |  |  | There is no cost increase as the codes will be in alignment with the current ASHRE requirements and models.
| CE98-16 |  |  | Y |  |  |  |  | x |  |  | This change is editorial only.
| CE102-16 |  |  | Y |  |  |  |  | x |  |  | This change is editorial and placement related which will help the end user.
| CE109-16 |  |  | Y |  |  |  |  | x |  |  | This change is editorial and a technical improvement in installation requirements.
| CE113-16 |  |  | Y |  |  |  |  | x |  |  | Additional technical information has been provided.
| CE114-16 |  |  | Y |  |  |  | x |  |  | This is an editorial rewrite.
| CE116-16 |  |  | Y |  |  |  | x |  |  | The change provides better insulation at entry point.
| CE127-16 |  |  | Y |  |  |  |  | x |  |  | This is an editorial fix.
| CE128-16 |  |  | Y |  |  |  |  | x |  |  | This provides greater clarification of the requirements and closes a potential loophole.
| CE130-16 |  |  | Y |  |  |  |  | x |  |  | This is an editorial fix.
| CE131-16 |  |  | Y |  |  |  |  | x |  |  | This is an editorial fix
| CE132-16 |  |  | Y |  |  |  |  | x |  |  | Upgrade to the federal standard has been done.
| CE160-16 |  |  | Y |  |  |  |  | x |  |  | This brings it in alignment with ASHRE 90.1.
| CE166-16 |  |  | Y |  |  |  |  | x |  |  | This brings it in alignment with ASHRE 90.1.
| CE162-16 |  |  | Y |  |  |  | x |  |  | Greater energy savings will be achieved with the change.
| CE163-16 |  |  | Y |  |  |  |  | x |  |  | This is an editorial fix.
| CE156-16 |  |  | Y |  |  |  |  | x |  |  | This change allows for greater clarification.
| CE157-16 |  |  | Y |  |  |  |  | x |  |  | This is an editorial fix.
| CE158-16 |  |  | Y |  |  |  | x |  |  | This change allows for more flexibility.
| CE167-16 |  |  | Y |  |  |  |  | x |  |  | This brings it in alignment with ASHRE 90.1.
| CE168-16 |  |  | Y |  |  |  |  | x |  |  | This provides greater clarification of the requirements for VAV control.
| CE141-16 |  |  | Y |  |  |  |  | x |  |  | This is an editorial fix.
| CE155-16 |  |  | Y |  |  |  |  | x |  |  | This eliminates lower end requirements.
| CE139-16 |  |  | Y |  |  |  |  | x |  |  | This provides greater clarification for the intake.
| CE122-16 |  |  | Y |  |  |  |  | x |  |  | This brings it in alignment with ASHRE 90.1.
| CE150-16 |  |  | Y |  |  |  |  | x |  |  | This brings it in alignment with ASHRE 90.1.
| CE165-16 |  |  | Y |  |  |  | x |  |  | Greater energy savings will be achieved with the change.
| CE126-16 |  |  | Y |  |  |  |  | x |  |  | Upgrade to the federal standard has been done.
| CE149-16 |  |  | Y |  |  |  |  | x |  |  | This is an editorial fix.
| CE171-16 |  |  | Y |  |  |  |  | x |  |  | Upgrade to the federal standard has been done.
| CE172-16 |  |  | Y |  |  |  |  | x |  |  | This is an editorial fix providing greater clarification.
| CE173-16 |  |  | Y |  |  |  |  | x |  |  | This brings it in alignment with ASHRE 90.1.
| CE175-16 |  |  | Y | [7 empty] | No info in change document.
| CE177-16 |  |  | Y |  |  |  | x |  |  | Increase in standard based on newer data that shows to be more economical.
| CE174-16 |  |  | Y |  |  |  |  | x |  |  | This is a clarification fix.
| CE179-16 |  |  | Y |  |  |  |  | x |  |  | This is a clarification fix based on how confusing the requirements were before.
| CE180-16 |  |  | Y |  |  |  |  | x |  |  | This is a clarification fix.
| CE183-16 |  |  | Y |  |  |  |  | x |  |  | Additional direction on lighting controls was provided.
| CE184-16 |  |  | Y |  |  |  |  | x |  |  | This is an editorial fix.
| CE185-16 |  |  | Y |  |  |  |  | x |  |  | This adds information based on open plan offices based on DOE research and cost analysis.
| CE186-16 |  |  | Y |  |  |  |  | x |  |  | This is an editorial fix.
| CE187-16 |  |  | Y |  |  |  |  | x |  |  | This change is based on DOE cost analysis.
| CE182-16 |  |  | Y |  |  |  |  | x |  |  | This is an editorial fix.
| CE190-16 |  |  | Y |  |  |  |  | x |  |  | This is a definition clarification.
| CE191-16 |  |  | Y |  |  |  |  | x |  |  | This is an editorial fix.
| CE192-16 |  |  | Y |  |  |  | x |  |  | This change is cost neutral for overall cost but will provide energy savings over time.
| CE196-16 |  |  | Y |  |  |  |  | x |  |  | This is a clarification of existing requirements.
| CE195-16 |  |  | Y |  |  |  |  | x |  |  | This is an editorial fix.
| CE201-16 |  |  | Y |  |  |  |  | x |  |  | Changes to provide clarity to existing regulations as an editorial fix.
| CE202-16 |  |  | Y |  |  |  |  | x |  |  | This was a nomenclature clean up as well update to keep pace with current manufacturing products.
| CE203-16 |  |  | Y |  |  |  |  | x |  |  | This is an editorial fix.
| CE204-16 |  |  | Y |  |  |  |  | x |  |  | Formula was corrected per current manufacturing standards.
| CE209-16 |  |  | Y |  |  |  | x |  |  | Analysis has shown this is a cost benefit change to the equations.
| CE210-16 |  |  | Y |  |  |  | x |  |  | Analysis has shown this is a cost benefit change to the equations.
| CE211-16 |  |  | Y |  |  |  |  | x |  |  | This is an editorial fix.
| CE205-16 |  |  | Y |  |  |  |  | x |  |  | This provided greater clarification of tables.
| CE206-16 |  |  | Y |  |  |  |  | x |  |  | Values were modified to reflect ASHRE requirements.
| CE207-16 |  |  | Y |  |  |  |  | x |  |  | This provided greater clarification of tables. It also provides coordination with ASHRE.
| CE215-16 |  |  | Y |  |  |  |  | x |  |  | This will provide coordination with ASHRE.
| CE220-16 |  |  | Y |  |  |  |  | x |  |  | This is an editorial fix.
| CE223-16 |  |  | Y |  |  |  |  | x |  |  | These changes align with federal requirements.
| CE226-16 |  |  | Y |  |  |  |  | x |  |  | This provides consistency with ASHRE and NEC.
| CE230-16 |  |  | Y |  |  |  | x |  |  | Flexibility has been added for adherence to other chapter requirements.
| CE235-16 |  |  | Y |  |  |  |  | x |  |  | This is a clarification.
| CE242-16 |  |  | Y |  |  |  |  | x |  |  | This is an editorial fix.
| CE248-16 |  |  | y |  |  |  | x |  |  | Electrical veichle charging should not be included in building efficency calculations.
| CE250-16 |  |  | y |  |  |  |  | x |  |  | This is an editorial fix.
| CE251-16 |  |  | y |  |  |  |  | x |  |  | The calculation was corrected to adhere to other parts of the code.
| CE256-16 |  |  | y |  |  |  |  | x |  |  | This brings the code into requirements of ASHRE Standards.
| CE259-16 |  |  | y |  |  |  |  | x |  |  | This is an editorial fix.
| CE265-16 |  |  | y |  |  |  | x |  |  | This claifyes the expectations of what is needed.
| CE266-16 |  |  | y |  |  |  | x |  |  | This provides additional allready available insight to the consumer.
| CE267-16 | [10 empty] | No info in change document.
| CE268-16 |  |  | y |  |  |  |  | x |  |  | This is a reoganizational fix.
| CE274-16 |  |  | y |  |  |  |  | x |  |  | This ensures compliance with additional building codes.
| CE276-16 |  |  | y |  |  |  |  | x |  |  | This ensures compliance with additional building codes.
| CE279-16 |  |  | y |  |  |  | x |  |  | This is a correction of an error in the publishing of the 2015 codes.
| CE285-16 |  |  | y |  |  |  | x |  |  | The documentation of the tool will allwo a 10% overage on renovations due ot increased costs requiremtns of full achiving of an existing building.
| CE286-16 |  |  | y |  |  |  | x |  |  | This allows for a 1 for 1 replacment as long as the new part is compliant the whole location is not required to be compliant.
| CE294-16 |  |  | y |  |  |  |  | x |  |  | This non mandatory information provides technical guidance.
| Table C30.1 |  |  | N | 7 | 0 |  |  | x |  |  | The code was left as is for consistency across the rest of the approved adoption.
| Figure C30.1 |  |  | N | 7 | 0 |  |  | x |  |  | The code was left as is for consistency across the rest of the approved adoption.
| R202 |  |  | N | 7 | 0 |  |  | x |  |  | This is the purview of the residential code and additional public comments should occur to both the residential and commercial TACs if changes are desired.